  - POWER SUPPLIES AND DOOR CONTROL MODULES

    - Door Control Modules: Modules with or without power supplies as scheduled or required.

      - Product as manufactured by SDC Security Door Controls.

** NOTE TO SPECIFIER **   Delete model not required.

      - 12VR – Regulator module. Reduces 24VDC to 12VDC @ 500mA for keypad or card reader.