  - ELECTRIC STRIKES

    - Electric Strikes:

      - Non handed, 200ma @ 12 VDC.

      - Accommodates up to 3/4 inch (19 mm) latch bolts with 1/8” gap.

      - All stainless steel parts with durable die cast body for corrosion resistance, 630 Satin stainless steel face plate.

      - Not recommended for wood frame applications

** NOTE TO SPECIFIER **   Delete model not required.

      - Product: Model 15-4FU - 4.875 inches (124 mm), Failsafe as manufactured by SDC Security Door Controls.

      - Product: Model 15-4SU - 4.875 inches (124 mm), Failsecure as manufactured by SDC Security Door Controls.

      - ** NOTE TO SPECIFIER ** Finish: Delete finish not required.

      - Finish: U - 630 Dull Stainless Steel.

      - Finish: V - 628 Dull Aluminum.

      - Finish: Y - 335 Black Anodized.

      - Finish: D - 606 Dull Brass.

      - Finish: H - 613 Oil Rubbed Bronze.

** NOTE TO SPECIFIER **  Delete Buzzer and Keeper options if not required.

      - Provide Buzzer RMB 12/24 V AC/DC operation.