  - ELECTRIC BOLT LOCKS

** NOTE TO SPECIFIER **  The Spacesaver®, first designed and patented by SDC, is a fundamental innovation in electric locking technology for access control applications. The stainless steel bolt projects at right angles to the lock mechanism, allowing installation of Spacesaver® locks, by means of a simple cutout, in virtually any standard 1.5 inches frame. , or in most door lock stiles. Delete if not required.

    - Micro Bolt Lock, Cabinet:

** NOTE TO SPECIFIER **  Delete model not required.

      - Product: Model 290 - Micro cabinet lock as manufactured by SDC Security Door Controls.

      - Product: Model 290LS - Micro cabinet lock with lock status switch as manufactured by SDC Security Door Controls.

      - Dual Voltage: 250/130 mA at 12/24 VDC.

      - Dimensions: 3.25 inches L by 1.125 inches W by 1.125 inches D (82.5 by 28.5 by 28.5 mm).