  - POWER SUPPLIES AND DOOR CONTROL MODULES

    - 2 Amp Class 2 Power Supply:

      - Product: Model 632RF - 2 Amp Power Supply as manufactured by SDC Security Door Controls.

      - Product Model 632RFA – 2 Amp Power supply, Large J-Box (16”x14”x6”)

      - 12/24 VDC field selectable.

      - Emergency release input with manual reset capability.

      - Low battery disconnect.

      - Input, output and battery status.

      - Battery charger (Batteries not included)

** NOTE TO SPECIFIER **   Delete if not required.

      - Provide - 2  door control modules or FB4 with 4 fused outputs.

      - Provide battery backup – one, two, or four pieces of RB12V4

Power Supply Options (delete options not required)

- KL – Key Lock for J-Box cover

- MR-1 - Manual Reset Button

- PS-1 – On/Off Push switch inside J-Box

- PS-2 – On/Off Push switch on J-Box cover

- PC- 6 foot power cord (Not for 634RF or 636RF)

- 220VAC- 220VAC input voltage