  - POWER SUPPLIES AND DOOR CONTROL MODULES

    - 6 Amp Class 2 Power Supply:

      - Product: Model 636RF 6 Amp Power Supply as manufactured by SDC Security Door Controls.

      - (1) 6A output and (3) 2A outputs.

      - Field selectable 12/24 VDC.

      - Emergency release input with field selectable manual reset.

      - Low battery disconnect.

      - Input, output and battery status.

      - Battery charger (Batteries not included)

      - Large cabinet: 16 inches W by 14 inches H by 6 inches D.

** NOTE TO SPECIFIER **  Optional. Specify up to (6) (4) FB4 for (24) (16) outputs. Delete if not required.

      - Provied FB5 or Door control modules as required.

      - Provide battery backup – One, two, four, six pieces of RB12V7

Power Supply Options (delete options not required)

- KL – Key Lock for J-Box cover

- MR-1 - Manual Reset Button

- PS-1 – On/Off Push switch inside J-Box

- PS-2 – On/Off Push switch on J-Box cover

- 220VAC- 220VAC input voltage