  - ELECTRIFIED MORTISE LOCKSETS

** NOTE TO SPECIFIER **  HiTower -  Electric Frame Actuator Controlled Locksets The HiTower utilizes SDC's original concept of utilizing an electric frame actuator to control a mechanical lock in the door, eliminating the cost and labor associated with a power transfer hinge and wires through the door. Type: HiTower Z7500 ( SDC brand Grade 1 Heavy Duty lockset  Field selectable function, Locked outside only or both sides). Type: HiTower Conversions (Distributors provide a new mechanical lock brand of choice to the factory for conversion to an electric frame actuator controlled lockset). Refer to manufacturer's literature.

    - Electrified Mortise Frame Actuated Lockset:

      - Product: Z7500 HiTower Actuator Controlled Lockset as manufactured by SDC Security Door Controls.

** NOTE TO SPECIFIER **  Delete function not required.

      - Function: Z7530 Failsafe, locked both sides.

      - Function: Z7550 Failsafe, locked outside.

      - Function: Z7560 Failsecure, locked  both sides (SDC brand lock only)

      - Function: Z7570 Failsecure, locked outside (SDC brand lock only)

** NOTE TO SPECIFIER **  Handing: Delete handing not required.

      - Handing: L - Left hand.

      - Handing: LR - Left hand reversed.

      - Handing: R - Right hand.

      - Handing: RR - Right hand reversed.

      - SPECIFY VOLTAGE Delete voltage not required

A 	Failsafe 115vac – A

B 	Failsafe 24vac – B

C 	Failsafe – 24vdc - C

** NOTE TO SPECIFIER **  Finish Q standard. Delete finish not required.

      - Finish: C - 605 Bright Brass.

      - Finish: D - 606 Dull Brass.

      - Finish: F - 611 Bright Bronze.

      - Finish: G - 612 Dull Bronze.

      - Finish: H - 613 Oil Rubbed Bronze.

      - Finish: P - 625 Bright Chrome.

      - Finish: Q - 626 Dull Chrome.

      - Finish: S - 629 Bright Stainless Steel.

      - Finish: U - 630 Dull Stainless.

** NOTE TO SPECIFIER **  Lever Trim: Delete trim not required.

      - Lever Trim: G - Galaxy with rose.

      - Lever Trim: GE - Galaxy with escutcheon.

      - Lever Trim: E - Eclipse with rose.

      - Lever Trim: EE - Eclipse with escutcheon.

      - Lever Trim: N - Nova with rose.

      - Lever Trim: NE - Nova with escutcheon.

      - Lever Trim: 07 - Schlage equivalent with SDC B rose.

      - Lever Trim: 07E - Schlage equivalent with SDC escutcheon.

      - Lever Trim: 12 - Schlage equivalent with SDC B rose.

      - Lever Trim: 12E - Schlage equivalent with SDC escutcheon.

** NOTE TO SPECIFIER **  Delete options not required.

      - Options/Suffix: L – Latch status switch, SPDT.

      - Options/Suffix: S - Latched and Locked status, SPDT.

** NOTE TO SPECIFIER **  Keyed Cylinder: Delete cylinder not required.

      - Keyed Cylinder Optional: CYL-6KDQ - 6 pin, 1.125 inches (29 mm) mortise cylinder, keyed different, dull chrome.

      - Keyed Cylinder Optional: CYL-6KAQ - 6 pin, 1.125 inches (29 mm) mortise cylinder, keyed alike, dull chrome.