* 1. STANDALONE RIM EXIT BAR
     1. SDC S6100 Rim Exit bar with battery powered electrically operated Escutcheon Trim, Digital Keypad and HID Compatible Proximity Reader with Bluetooth enabled Software
        1. Product: Model **E77PS** - EntryCheck Standalone Rim Exit Bar with Electrically operated Escutcheon Trim, Digital Keypad and HID compatible Prox Card/FOB Reader with Bluetooth enabled software as manufactured by SDC Security Door Controls.
           1. Battery powered electronic keypad and HID compatible Prox reader for 3000 users. Standard features include an ANSI Grade 1 SDC S6100 Rim Exit bar with electrically operated escutcheon lever trim, 4-6 digit pin code, all weather keypad and housing, keypad or computer programming, 32 user groups, multi-year scheduling, temporary users, multiple zones, real time clock, auto daylight savings adjustment and more.
           2. E77PS shall operate on 4 AA Batteries and shall have REX and DPS inputs with an AUX Relay Output (SPDT, 1A @ 30VDC)
           3. HID compatible Proximity card reader and/or Proximity FOB reader
           4. ¾” (19mm) throw deadlocking Stainless Steel Pullman Latch bolt
           5. UL & ULC Listed panic and fire exit hardware. ANSI/BHMA A156.3-2001 Grade 1 Compliant. CA Title 19 Compliant. Meets/Exceeds ADA requirements. UBC 97, Standard 7.2.
           6. Levers - Galaxy and Eclipse return to within 1/2 inch (13mm) of the door face.
           7. Point and click Microsoft PC based software that supports up to 1000 unique doors and 3000 user credentials. Manages door access parameters, access schedules, User Groups, Holidays and temporary users.
           8. Lock settings are easily cloned to additional lock sets and lock data with User data may easily be imported from existing databases.
           9. Bluetooth wireless information transfer of lock programming and

Audit Trail may be uploaded and downloaded to a Bluetooth enabled PC.

* + - * 1. Audit Trail information is stored for up to 10,000 events with Users logged with time and date. Remote activation and Door alarm activities are also logged. Audit Trail information can easily be exported to Excel spreadsheets for sorting or printing.
        2. PC Requirements: Windows 7 or Windows 10. Processor speed of 2 GHz or faster with Hard disk space of 1 GB and 2 GB RAM recommended.

\*\* NOTE TO SPECIFIER \*\* Lever Handles with/without cylinders. Delete lever not required.

* + - 1. Specify Keypad Finish

1. Q – 626 Dull Chrome (Standard)
2. B - Black
   * + 1. Specify Electrically Operated Escutcheon Trim Style. 626 Dull Chrome finish (Q)
3. EKM – Eclipse (Less Cylinder)
4. GKM – Galaxy (Less Cylinder)
   * + 1. Exit Bar Part Number – 61 (Standard S6100 Rim Exit Bar)
       2. Specify Panic or Fire Rated Exit bar
5. P – Panic Exit device with mechanical dogging
6. F – Fire Rated Exit bar (Mechanical dogging not allowed)
   * + 1. Exit bar finish shall be – (U) 630 Stainless Steel
       2. Specify Exit Bar length – 36” or 42” or 48”
       3. Optional Mortise Cylinder for Trim
7. CYL-6KDQ – 6 pin, 1-1/8” Mortise Cylinder, Keyed different, 626 Dull Chrome
8. CYL-6KAQ – 6 pin, 1-1/8” Mortise Cylinder, Keyed alike, 626 Dull Chrome
   * + 1. Optional - Card: HID1326-100 ProxCard II (100 cards) as manufactured by SDC Security Door Controls.
       2. Optional - Card: HID1326-25 ProxCard II (25 cards) as manufactured by SDC Security Door Controls.
       3. Optional - Key Fob: HID1346-10 ProxKey II (10 key fobs) as manufactured by SDC Security Door Controls.
       4. Optional - Key Fob: HID1346-100 ProxKey II (100 key fobs) as manufactured by SDC Security Door Controls.