  - Multi-Mode LED Exit Annunciator Light Bar

  - Provide Product Model EA100 Multi-Mode LED Exit Annuciator as manufactured by SDC.

  - Suitable for new or retrofit applications

  - Uses Highly visible LED display module capable of displaying the following colors: Red, Green, Blue, White, Yellow and Purple

  - Externally selectable Solid or Flashing modes

  - Can be used Standalone or easily adapts to mounting on standard EmLocks or Delayed Egress EmLocks

  - Easily mounts on wall, ceiling or door frame.

  - LED module size: 8-3/4” x 1-1/2” x ¾”

  - Accepts 12/24VDC 80mA/100mA Maximum