  - POWER SUPPLIES AND DOOR CONTROL MODULES

    - Door Control Modules:

Modules with or without power supplies as scheduled or required.

      - Product as manufactured by SDC Security Door Controls.

** NOTE TO SPECIFIER **   Delete model not required.

      - Product: Model FB-4 - Fused terminal board. 4 individually fused outputs.

      - Model ACM-1 - Access Control Module. One SPDT voltage output, one SPDT status output, eight trigger inputs, (4N/C, 4N/O), LED status indicator.

      - Product: Model CR4 - Control Board with four relays. Four fused SPDT field selectable wet or dry outputs, four non-fused SPDT outputs, 2 Amps @ 30VDC, four dry contact trigger inputs.

      - Product: Model PB-8 - Power booster for high inrush electric panic devices and locks. 1 Amp continuous @ 24VDC, 8 Amp surge output.

      - Product: Model PB-16 - Power booster for high inrush electric panic devices and locks. 1 Amp continuous @ 24VDC, 16 Amp surge output.

      - PSM – Power supply monitor board. Two SPDT relays to monitor power supply and battery status.

      - 12VR – Regulator module. Reduces 24VDC to 12VDC @ 500mA for keypad or card reader.

    - Exit Device Sequencer:

      - Product as manufactured by SDC Security Door Controls.

      - Product: Model EMC - Sequencer Module required for pair of doors and automatic doors. 12/24 VDC. For use with SDC 602RF and 632RF Power Supplies.