  - ELECTRIC BOLT LOCKS

** NOTE TO SPECIFIER **  The Spacesaver®, first designed and patented by SDC, is a fundamental innovation in electric locking technology for access control applications. The stainless steel bolt projects at right angles to the lock mechanism, allowing installation of Spacesaver® locks, by means of a simple cutout, in virtually any standard 1.5 inches frame. , or in most door lock stiles. Delete if not required.

    - Top Latch Release for Dor-O-Matic and Kawneer Vertical Rod Exit Devices:

      - Product: Model PD2090ALU - LH/RHR failsecure as manufactured by SDC Security Door Controls. 24VDC, 2.5 A Inrush, .4A seated.

      - Product: Model PD2090ARU - RH/LHR failsecure as manufactured by SDC Security Door Controls. 24VDC, 2.5 A Inrush, .4A seated.

      - Stainless steel finish standard.

      - Accessory: B - Magnetic Bolt Status Switch. SPDT 0.25 Amp @ 30VDC. Indicates bolt locked and unlocked.

      - Accessory: D - Mechanical Door Position Switch. SPDT 5 Amps at 30VDC. Integral to the auto relock ball switch assembly. Indicates, door closed and door open. Recommended for minimum security applications only.

      - Accessory: BR64XL - Rectifier for AC operation.