  - TRANSFORMERS

    - DC Transformers:

      - Product as manufactured by SDC Security Door Controls.
** NOTE TO SPECIFIER **   Delete model not required.

Product: Model TR12 Plug In. 120VAC primary, secondary screw terminals   Output Regulated 12VDC @ 1 Amp

      - Product: Model TR24 Plug-in. 120 VAC primary, secondary screw terminals. 24VDC, 1 Amp.