  - POWER SUPPLIES AND DOOR CONTROL MODULES

    - Universal Door Control Modules: 7 field selectable modes: standard relay, timer, latch, or latch plus timer and 3 mantraps modes.

** NOTE TO SPECIFIER **   Delete model not required.

      - Product: Model UR2-4 - 2 Station Controller as manufactured by SDC Security Door Controls. Field selectable CR, TD, LR, TD/LR, Interlock  A, Mantrap B , Interlock C

        - 4 inputs, 2 fused outputs.

        - 4 aux inputs, 2 aux outputs.

      - Power Supply Capacity: 631RFA- 1 maximum. 634/636RF - 2 maximum.

      - Product: Model UR4-8 - 4 Station Controller as manufactured by SDC Security Door Controls. . Field selectable CR, TD, LR, TD/LR, Interlock  A, Mantrap B , Interlock C

        - 8 inputs, 4 fused outputs.

        - 4 aux inputs, 4 aux outputs.

      - Power Supply Capacity: 631RFA- 1 maximum. 634/636RF - 2 maximum.